## Total
Stamdataregister for vindkraftanlæg, ult. januar 2022 | [5 empty] | Master data for wind turbines as at end of January 2022
Der tages forbehold for, at der kan ske rettelser i de kommende måneder. | [5 empty] | We reserve the right to make corrections in forthcoming months.
OBS: Produktionsdata for 2019 og frem er inklusive egenproduktioner | [5 empty] | NOTE: Production figures for 2019 and forward are including own production
NOTE: Energistyrelsen overgår til en ny database, hvorfor produktionsdata i tabellerne indtil videre er foreløbige.
Note: The Danish Energy Agency is migrating data to a new database. Due to challenges during this process, the current version of productiondata is temporary.
Oversigtstabeller - hele landet |  |  |  | Review tables - whole country
2024-02-16
Active turbines |  |  | Production |  | Commissioned turbines |  |  | Decommissioned facilities
Year | Number of turbines | Capacity kW | Production kWh |  | Year | Number of turbines | Capacity kW | Year | Number of turbines | Capacity kW
Aktive anlæg |  |  | Produktion |  | Idriftsatte anlæg |  |  | Afmeldte anlæg
År | Anlæg | Kapacitet kW | Produktion kWh |  | År | Anlæg | Kapacitet kW | År | Anlæg | Kapacitet kW
1977 | 3 | 97 | 0 |  | 1977 | 3 | 97 | 1977 | 0 | 0
1978 | 12 | 802 | 120492 |  | 1978 | 9 | 705 | 1978 | 0 | 0
1979 | 22 | 1079 | 239881 |  | 1979 | 10 | 277 | 1979 | 0 | 0
1980 | 66 | 2633 | 2235719 |  | 1980 | 44 | 1554 | 1980 | 0 | 0
1981 | 165 | 6674 | 4606217.2957 |  | 1981 | 99 | 4041 | 1981 | 0 | 0
1982 | 259 | 10630.5 | 11926440.7383 |  | 1982 | 94 | 3956.5 | 1982 | 0 | 0
1983 | 334 | 14287.5 | 19305125.3403 |  | 1983 | 75 | 3657 | 1983 | 0 | 0
1984 | 439 | 20015.5 | 25640500.6213 |  | 1984 | 105 | 5728 | 1984 | 0 | 0
1985 | 828 | 47138.5 | 44083536.8242 |  | 1985 | 389 | 27123 | 1985 | 0 | 0
1986 | 1141 | 73033 | 103859926.2639 |  | 1986 | 313 | 25894.5 | 1986 | 0 | 0
1987 | 1473 | 111967 | 153913831.3184 |  | 1987 | 333 | 38945 | 1987 | 1 | 11
1988 | 1959 | 191791.5 | 265391725.168 |  | 1988 | 486 | 79824.5 | 1988 | 0 | 0
1989 | 2289 | 247516.5 | 397761130.4609 |  | 1989 | 330 | 55725 | 1989 | 0 | 0
1990 | 2670 | 327082.5 | 566947993.5215 |  | 1990 | 381 | 79566 | 1990 | 0 | 0
1991 | 3010 | 392717.5 | 683254060.0918 |  | 1991 | 340 | 65635 | 1991 | 0 | 0
1992 | 3210 | 435432.5 | 831549408.2891 |  | 1992 | 200 | 42715 | 1992 | 0 | 0
1993 | 3338 | 467302.5 | 919299737.5391 |  | 1993 | 128 | 31870 | 1993 | 0 | 0
1994 | 3482 | 520940.5 | 1054551582.2188 |  | 1994 | 144 | 53638 | 1994 | 0 | 0
1995 | 3653 | 599712 | 1088906714.8594 |  | 1995 | 171 | 78771.5 | 1995 | 0 | 0
1996 | 4092 | 817801.5 | 1189408763.4551 |  | 1996 | 439 | 218089.5 | 1996 | 0 | 0
1997 | 4650 | 1122597 | 1890533791.5742 |  | 1997 | 559 | 304817.5 | 1997 | 1 | 22
1998 | 5142 | 1438526 | 2762065021.3189 |  | 1998 | 496 | 316049.5 | 1998 | 4 | 120.5
1999 | 5589 | 1759228.5 | 3001115972.8672 |  | 1999 | 478 | 326243.5 | 1999 | 31 | 5541
2000 | 6253 | 2389355 | 4215383466.4785 |  | 2000 | 745 | 638696.5 | 2000 | 81 | 8570
2001 | 6310 | 2500133.5 | 4311792407.8086 |  | 2001 | 136 | 116089 | 2001 | 79 | 5310.5
2002 | 5453 | 2894141 | 4857456742.371 |  | 2002 | 369 | 504368.5 | 2002 | 1226 | 110361
2003 | 5394 | 3121220 | 5559746325.7577 |  | 2003 | 127 | 249325 | 2003 | 186 | 22246
2004 | 5398 | 3123205 | 6579375793.504 |  | 2004 | 10 | 9308 | 2004 | 6 | 7323
2005 | 5289 | 3127286.5 | 6612164109.8011 |  | 2005 | 19 | 22199 | 2005 | 128 | 18117.5
2006 | 5272 | 3135168.5 | 6105128630.2053 |  | 2006 | 10 | 11583 | 2006 | 27 | 3701
2007 | 5220 | 3123687.5 | 7137844902.3088 |  | 2007 | 14 | 2843 | 2007 | 66 | 14324
2008 | 5111 | 3162719.5 | 6975143347.6039 |  | 2008 | 54 | 77585 | 2008 | 163 | 38553
2009 | 5117 | 3481936.8 | 6715803754.071 |  | 2009 | 165 | 353681.3 | 2009 | 159 | 34464
2010 | 5060 | 3801802.9 | 7855912150.6897 |  | 2010 | 188 | 364280.1 | 2010 | 245 | 44414
2011 | 5179 | 3953229.4 | 9793327028.2547 |  | 2011 | 281 | 207387.5 | 2011 | 162 | 55961
2012 | 5628 | 4165464.4 | 10251076727.1122 |  | 2012 | 496 | 226323.3 | 2012 | 47 | 14088.3
2013 | 5961 | 4823001 | 11128531475.96 |  | 2013 | 392 | 705184.1 | 2013 | 59 | 47647.5
2014 | 6013 | 4890487.4 | 13076524043.1604 |  | 2014 | 156 | 106582.5 | 2014 | 104 | 39096.1
2015 | 6500 | 5080878.4 | 14126138715.7347 |  | 2015 | 630 | 240516 | 2015 | 143 | 50125
2016 | 6825 | 5249464.4 | 12771094448.5579 |  | 2016 | 528 | 229338 | 2016 | 203 | 60752
2017 | 6860 | 5492884.4 | 14791568245.7098 |  | 2017 | 226 | 348591 | 2017 | 191 | 105171
2018 | 6969 | 6118160.4 | 13911920924.6542 |  | 2018 | 151 | 654191 | 2018 | 42 | 28915
2019 | 6944 | 6106022.2 | 16158979013.0177 |  | 2019 | 26 | 27858.5 | 2019 | 51 | 39996.7
2020 | 6924 | 6320082 | 16353106633.7411 |  | 2020 | 56 | 278271.6 | 2020 | 76 | 64211.8
2021 | 6990 | 7007858.6 | 16100589037.574 |  | 2021 | 121 | 790636 | 2021 | 55 | 102859.4
2022 | 6969 | 7103810.6 | 19108452128.3471 |  | 2022 | 45 | 155818.6 | 2022 | 66 | 59866.6
2023 | 6974 | 7280926.1 | 19539855717.2945 |  | 2023 | 48 | 202814.2 | 2023 | 43 | 25698.7
Data til grafer | Aktive anlæg |  |  |  | Idriftsatte anlæg |  |  | Afmeldte anlæg
År/Year | Anlæg/Turbines | Kapacitet/ Capacity | Kapacitet/ Capacity |  | Anlæg/Turbines | Kapacitet/ Capacity | Kapacitet/ Capacity | Anlæg/Turbines | Kapacitet/ Capacity | Kapacitet/ Capacity
År/Year | Antal/No | kW | MW |  | Antal/No | kW | MW | Antal/No | kW | MW
1977 | 3 | 97 | 0.097 |  | 3 | 97 | 0.097 | 0 | 0 | 0
1978 | 12 | 802 | 0.802 |  | 9 | 705 | 0.705 | 0 | 0 | 0
1979 | 22 | 1079 | 1.079 |  | 10 | 277 | 0.277 | 0 | 0 | 0
1980 | 66 | 2633 | 2.633 |  | 44 | 1554 | 1.554 | 0 | 0 | 0
1981 | 165 | 6674 | 6.674 |  | 99 | 4041 | 4.041 | 0 | 0 | 0
1982 | 259 | 10630.5 | 10.6305 |  | 94 | 3956.5 | 3.9565 | 0 | 0 | 0
1983 | 334 | 14287.5 | 14.2875 |  | 75 | 3657 | 3.657 | 0 | 0 | 0
1984 | 439 | 20015.5 | 20.0155 |  | 105 | 5728 | 5.728 | 0 | 0 | 0
1985 | 828 | 47138.5 | 47.1385 |  | 389 | 27123 | 27.123 | 0 | 0 | 0
1986 | 1141 | 73033 | 73.033 |  | 313 | 25894.5 | 25.8945 | 0 | 0 | 0
1987 | 1473 | 111967 | 111.967 |  | 333 | 38945 | 38.945 | 1 | 11 | 0.011
1988 | 1959 | 191791.5 | 191.7915 |  | 486 | 79824.5 | 79.8245 | 0 | 0 | 0
1989 | 2289 | 247516.5 | 247.5165 |  | 330 | 55725 | 55.725 | 0 | 0 | 0
1990 | 2670 | 327082.5 | 327.0825 |  | 381 | 79566 | 79.566 | 0 | 0 | 0
1991 | 3010 | 392717.5 | 392.7175 |  | 340 | 65635 | 65.635 | 0 | 0 | 0
1992 | 3210 | 435432.5 | 435.4325 |  | 200 | 42715 | 42.715 | 0 | 0 | 0
1993 | 3338 | 467302.5 | 467.3025 |  | 128 | 31870 | 31.87 | 0 | 0 | 0
1994 | 3482 | 520940.5 | 520.9405 |  | 144 | 53638 | 53.638 | 0 | 0 | 0
1995 | 3653 | 599712 | 599.712 |  | 171 | 78771.5 | 78.7715 | 0 | 0 | 0
1996 | 4092 | 817801.5 | 817.8015 |  | 439 | 218089.5 | 218.0895 | 0 | 0 | 0
1997 | 4650 | 1122597 | 1122.597 |  | 559 | 304817.5 | 304.8175 | 1 | 22 | 0.022
1998 | 5142 | 1438526 | 1438.526 |  | 496 | 316049.5 | 316.0495 | 4 | 120.5 | 0.1205
1999 | 5589 | 1759228.5 | 1759.2285 |  | 478 | 326243.5 | 326.2435 | 31 | 5541 | 5.541
2000 | 6253 | 2389355 | 2389.355 |  | 745 | 638696.5 | 638.6965 | 81 | 8570 | 8.57
2001 | 6310 | 2500133.5 | 2500.1335 |  | 136 | 116089 | 116.089 | 79 | 5310.5 | 5.3105
2002 | 5453 | 2894141 | 2894.141 |  | 369 | 504368.5 | 504.3685 | 1226 | 110361 | 110.361
2003 | 5394 | 3121220 | 3121.22 |  | 127 | 249325 | 249.325 | 186 | 22246 | 22.246
2004 | 5398 | 3123205 | 3123.205 |  | 10 | 9308 | 9.308 | 6 | 7323 | 7.323
2005 | 5289 | 3127286.5 | 3127.2865 |  | 19 | 22199 | 22.199 | 128 | 18117.5 | 18.1175
2006 | 5272 | 3135168.5 | 3135.1685 |  | 10 | 11583 | 11.583 | 27 | 3701 | 3.701
2007 | 5220 | 3123687.5 | 3123.6875 |  | 14 | 2843 | 2.843 | 66 | 14324 | 14.324
2008 | 5111 | 3162719.5 | 3162.7195 |  | 54 | 77585 | 77.585 | 163 | 38553 | 38.553
2009 | 5117 | 3481936.8 | 3481.9368 |  | 165 | 353681.3 | 353.6813 | 159 | 34464 | 34.464
2010 | 5060 | 3801802.9 | 3801.8029 |  | 188 | 364280.1 | 364.2801 | 245 | 44414 | 44.414
2011 | 5179 | 3953229.4 | 3953.2294 |  | 281 | 207387.5 | 207.3875 | 162 | 55961 | 55.961
2012 | 5628 | 4165464.4 | 4165.4644 |  | 496 | 226323.3 | 226.3233 | 47 | 14088.3 | 14.0883
2013 | 5961 | 4823001 | 4823.001 |  | 392 | 705184.1 | 705.1841 | 59 | 47647.5 | 47.6475
2014 | 6013 | 4890487.4 | 4890.4874 |  | 156 | 106582.5 | 106.5825 | 104 | 39096.1 | 39.0961
2015 | 6500 | 5080878.4 | 5080.8784 |  | 630 | 240516 | 240.516 | 143 | 50125 | 50.125
2016 | 6825 | 5249464.4 | 5249.4644 |  | 528 | 229338 | 229.338 | 203 | 60752 | 60.752
2017 | 6860 | 5492884.4 | 5492.8844 |  | 226 | 348591 | 348.591 | 191 | 105171 | 105.171
2018 | 6969 | 6118160.4 | 6118.1604 |  | 151 | 654191 | 654.191 | 42 | 28915 | 28.915
2019 | 6944 | 6106022.2 | 6106.0222 |  | 26 | 27858.5 | 27.8585 | 51 | 39996.7 | 39.9967
2020 | 6924 | 6320082 | 6320.082 |  | 56 | 278271.6 | 278.2716 | 76 | 64211.8 | 64.2118
2021 | 6990 | 7007858.6 | 7007.8586 |  | 121 | 790636 | 790.636 | 55 | 102859.4 | 102.8594
2022 | 6969 | 7103810.6 | 7103.8106 |  | 45 | 155818.6 | 155.8186 | 66 | 59866.6 | 59.8666
2023 | 6974 | 7280926.1 | 7280.9261 |  | 48 | 202814.2 | 202.8142 | 43 | 25698.7 | 25.6987

## LAND_HAV - ON_OFF shore
Stamdataregister for vindkraftanlæg, ult. december 2023 | [8 empty] | Master data for wind turbines as at end of December 2023
Der tages forbehold for, at der kan ske rettelser i de kommende måneder. | [8 empty] | We reserve the right to make corrections in forthcoming months.
OBS: Produktionsdata for 2019 og til og med 2021 er inklusive egenproduktioner | [8 empty] | NOTE: Production figures for 2019 and up to and including 2021 are including own production
NOTE: Energistyrelsen overgår til en ny database, hvorfor produktionsdata i tabellerne indtil videre er foreløbige. | [8 empty] | Note: The Danish Energy Agency is migrating data to a new database. Due to challenges during this process, the current version of data is temporary
Oversigtstabeller - hele landet | [8 empty] | Review tables - whole country
2024-02-16
| Active turbines on shore |  | Active turbines off shore |  | Production (kWh) |  |  |  | Commissioned turbines on shore |  | Commissioned turbines off shore |  |  | Decommissioned facilies on shore |  | Decommissioned facilities off shore
Year | Number of turbines | Capacity kW | Number of turbines | Capacity kW | On shore | Off Shore |  | Year | Number of turbines | Capacity kW | Number of turbines | Capacity kW | Year | Number of turbines | Capacity kW | Number of turbines | Capacity kW
| Aktive anlæg land |  | Aktive anlæg hav |  | Produktion (kWh) |  |  |  | Idriftsatte anlæg land |  | Idriftsatte anlæg hav |  |  | Afmeldte anlæg land |  | Afmeldte anlæg hav
År | Anlæg | Kapacitet kW | Anlæg | Kapacitet kW | LAND | HAV |  | År | Anlæg | Kapacitet kW | Anlæg | Kapacitet kW | År | Anlæg | Kapacitet kW | Anlæg | Kapacitet kW
1977 | 3 | 97 |  |  | 0 |  | 0 | 1977 | 3 | 97 |  |  | 1977
1978 | 12 | 802 |  |  | 120492 |  | 120492 | 1978 | 9 | 705 |  |  | 1978
1979 | 22 | 1079 |  |  | 239881 |  | 239881 | 1979 | 10 | 277 |  |  | 1979
1980 | 66 | 2633 |  |  | 2235719 |  | 2235719 | 1980 | 44 | 1554 |  |  | 1980
1981 | 165 | 6674 |  |  | 4606217.2957 |  | 4606217.2957 | 1981 | 99 | 4041 |  |  | 1981
1982 | 259 | 10630.5 |  |  | 11926440.7383 |  | 11926440.7383 | 1982 | 94 | 3956.5 |  |  | 1982
1983 | 334 | 14287.5 |  |  | 19305125.3403 |  | 19305125.3403 | 1983 | 75 | 3657 |  |  | 1983
1984 | 439 | 20015.5 |  |  | 25640500.6213 |  | 25640500.6213 | 1984 | 105 | 5728 |  |  | 1984
1985 | 828 | 47138.5 |  |  | 44083536.8242 |  | 44083536.8242 | 1985 | 389 | 27123 |  |  | 1985
1986 | 1141 | 73033 |  |  | 103859926.2639 |  | 103859926.2639 | 1986 | 313 | 25894.5 |  |  | 1986
1987 | 1473 | 111967 |  |  | 153913831.3184 |  | 153913831.3184 | 1987 | 333 | 38945 |  |  | 1987 | 1 | 11
1988 | 1959 | 191791.5 |  |  | 265391725.168 |  | 265391725.168 | 1988 | 486 | 79824.5 |  |  | 1988
1989 | 2289 | 247516.5 |  |  | 397761130.4609 |  | 397761130.4609 | 1989 | 330 | 55725 |  |  | 1989
1990 | 2670 | 327082.5 |  |  | 566947993.5215 |  | 566947993.5215 | 1990 | 381 | 79566 |  |  | 1990
1991 | 2999 | 387767.5 | 11 | 4950 | 679268056.0918 | 3986004 | 683254060.0918 | 1991 | 329 | 60685 | 11 | 4950 | 1991
1992 | 3199 | 430482.5 | 11 | 4950 | 820846408.2891 | 10703000 | 831549408.2891 | 1992 | 200 | 42715 |  |  | 1992
1993 | 3327 | 462352.5 | 11 | 4950 | 907516735.5391 | 11783002 | 919299737.5391 | 1993 | 128 | 31870 |  |  | 1993
1994 | 3471 | 515990.5 | 11 | 4950 | 1043595582.2188 | 10956000 | 1054551582.2188 | 1994 | 144 | 53638 |  |  | 1994
1995 | 3632 | 589762 | 21 | 9950 | 1077863715.8594 | 11042999 | 1088906714.8594 | 1995 | 161 | 73771.5 | 10 | 5000 | 1995
1996 | 4071 | 807851.5 | 21 | 9950 | 1167972768.4551 | 21435995 | 1189408763.4551 | 1996 | 439 | 218089.5 |  |  | 1996
1997 | 4629 | 1112647 | 21 | 9950 | 1866351795.5742 | 24181996 | 1890533791.5742 | 1997 | 559 | 304817.5 |  |  | 1997 | 1 | 22
1998 | 5121 | 1428576 | 21 | 9950 | 2737560024.3189 | 24504997 | 2762065021.3189 | 1998 | 496 | 316049.5 |  |  | 1998 | 4 | 120.5
1999 | 5568 | 1749278.5 | 21 | 9950 | 2979708973.8672 | 21406999 | 3001115972.8672 | 1999 | 478 | 326243.5 |  |  | 1999 | 31 | 5541
2000 | 6212 | 2339405 | 41 | 49950 | 4188268754.3535 | 27114712.125 | 4215383466.4785 | 2000 | 725 | 598696.5 | 20 | 40000 | 2000 | 81 | 8570
2001 | 6269 | 2450183.5 | 41 | 49950 | 4222154417.5781 | 89637990.2305 | 4311792407.8086 | 2001 | 136 | 116089 |  |  | 2001 | 79 | 5310.5
2002 | 5330 | 2680191 | 123 | 213950 | 4688039144.039 | 169417598.332 | 4857456742.371 | 2002 | 287 | 340368.5 | 82 | 164000 | 2002 | 1226 | 110361
2003 | 5180 | 2697870 | 214 | 423350 | 4680741901.7499 | 879004424.0078 | 5559746325.7577 | 2003 | 36 | 39925 | 91 | 209400 | 2003 | 186 | 22246
2004 | 5184 | 2699855 | 214 | 423350 | 5345590880.7447 | 1233784912.7593 | 6579375793.504 | 2004 | 10 | 9308 |  |  | 2004 | 6 | 7323
2005 | 5075 | 2703936.5 | 214 | 423350 | 5156244026.3167 | 1455920083.4844 | 6612164109.8011 | 2005 | 19 | 22199 |  |  | 2005 | 128 | 18117.5
2006 | 5058 | 2711818.5 | 214 | 423350 | 4737582784.8323 | 1367545845.373 | 6105128630.2053 | 2006 | 10 | 11583 |  |  | 2006 | 27 | 3701
2007 | 5006 | 2700337.5 | 214 | 423350 | 5767455912.7636 | 1370388989.5452 | 7137844902.3088 | 2007 | 14 | 2843 |  |  | 2007 | 66 | 14324
2008 | 4897 | 2739369.5 | 214 | 423350 | 5451160097.889 | 1523983249.7148 | 6975143347.6039 | 2008 | 54 | 77585 |  |  | 2008 | 163 | 38553
2009 | 4803 | 2821086.8 | 314 | 660850 | 5051962431.0332 | 1663841323.0378 | 6715803754.071 | 2009 | 65 | 116181.3 | 100 | 237500 | 2009 | 159 | 34464
2010 | 4656 | 2933952.9 | 404 | 867850 | 5163839842.9207 | 2692072307.7689 | 7855912150.6897 | 2010 | 98 | 157280.1 | 90 | 207000 | 2010 | 245 | 44414
2011 | 4774 | 3081779.4 | 405 | 871450 | 6388716653.3378 | 3404610374.917 | 9793327028.2547 | 2011 | 280 | 203787.5 | 1 | 3600 | 2011 | 162 | 55961
2012 | 5209 | 3243614.4 | 419 | 921850 | 6779323781.4392 | 3471752945.673 | 10251076727.1122 | 2012 | 482 | 175923.3 | 14 | 50400 | 2012 | 47 | 14088.3
2013 | 5445 | 3551951 | 516 | 1271050 | 6777438054.8924 | 4351093421.0676 | 11128531475.96 | 2013 | 295 | 355984.1 | 97 | 349200 | 2013 | 59 | 47647.5
2014 | 5497 | 3619437.4 | 516 | 1271050 | 7911095207.2804 | 5165428835.88 | 13076524043.1604 | 2014 | 156 | 106582.5 |  |  | 2014 | 104 | 39096.1
2015 | 5984 | 3809828.4 | 516 | 1271050 | 9293452766.2857 | 4832685949.449 | 14126138715.7347 | 2015 | 630 | 240516 |  |  | 2015 | 143 | 50125
2016 | 6309 | 3978414.4 | 516 | 1271050 | 8121066049.7209 | 4650028398.8369 | 12771094448.5579 | 2016 | 528 | 229338 |  |  | 2016 | 203 | 60752
2017 | 6356 | 4229084.4 | 504 | 1263800 | 9611796718.3689 | 5179771527.3409 | 14791568245.7098 | 2017 | 226 | 348591 |  |  | 2017 | 179 | 97921 | 12 | 7250
2018 | 6411 | 4417260.4 | 558 | 1700900 | 9281780596.9343 | 4630140327.7199 | 13911920924.6542 | 2018 | 97 | 217091 | 54 | 437100 | 2018 | 42 | 28915
2019*) | 6386 | 4405122.2 | 558 | 1700900 | 9961410016.3168 | 6197568996.7008 | 16158979013.0177 | 2019*) | 26 | 27858.5 |  |  | 2019*) | 51 | 39996.7
2020*) | 6366 | 4619182 | 558 | 1700900 | 9750020333.2062 | 6603086300.5349 | 16353106633.7411 | 2020*) | 56 | 278271.6 |  |  | 2020*) | 76 | 64211.8
2021*) | 6360 | 4702158.6 | 630 | 2305700 | 8507752091.706 | 7592836945.868 | 16100589037.574 | 2021*) | 49 | 185836 | 72 | 604800 | 2021*) | 55 | 102859.4
2022 | 6341 | 4802710.6 | 628 | 2301100 | 10365870471.6661 | 8742581656.681 | 19108452128.3471 | 2022 | 45 | 155818.6 |  |  | 2022 | 64 | 55266.6 | 2 | 4600
2023 | 6326 | 4811826.1 | 648 | 2469100 | 10966688742.001 | 8573166975.2935 | 19539855717.2945 | 2023 | 28 | 34814.2 | 20 | 168000 | 2023 | 43 | 25698.7
*) OBS: Produktionsdata for 2019 og til og med 2021 er inklusive egenproduktioner
*) NOTE: Production figures for 2019 and up to and including 2021 are including own production